## Sheet1
Pole Attachment Standards Comment Form
Date: |  | 2019-01-31
Pole Attachment Version Number: |  | 4
Company: |  | Time Warner Cable Texas LLC (Charter Communications)
No. | Section No. | Section Name | Page No. | Comment | CPS Energy Response
| II.A. | Definitions | 7, 17, 18 | Mid-Span Installations (micro network nodes) should not be subject to the submission of a pole attachment application. Rather, an Attaching Entity should proceed to install such installations and only provide post-construction notice to CPS Energy. | The nature of Mid-Span Installations is such that the notice and processing requirements can be met via an expedited notification procedure that makes submission of an Application unnecesary. Such an expideted notificatin process will provide CPS Energy the advance notice necessary to ensure each Mid-Span Installation is installed in compliance with the NESC. The definitions of "Application" and "Application Form" will be revised to clarify this point and a new term will be added for "Notification of Mid-Span Installation." In addition, the definition of "Mid-Span Installation" will be amended to clarify that such an installation consists of "micro network node" as that term is defined in Chapter 284 of the Texas Local Government Code.
| II.A. | Definitions | 8 | Mid-Span Installations should not be subject to assessment of a pole attachment fee. | CPS Energy recognizes that as long as a Mid-Span Installation (a) uses the same one foot of space as the messenger cable to which the it is attached; (b) is installed in compliance with the NESC; and (c) the messenger cable is already assessed a pole attachment fee, there is not need to assess another pole attachment fee on the Mid-Span Installation. However, if a Mid-Span Installation requires more than one foot of space in order to meet the proper clearance from a neighboring wireline attachment, the installation will be assess an additional fee. The definitons of "Attachment" and "Wireless Installation Fee" will be modified to clarify this point.
| II.A. | Definitions | 19 | A Mid-Span Installation should not be required to receive a pole attachment permit. | CPS Energy disagrees and will issue a pole attachment permit for a Mid-Span Installation pursuant to a new expedited notification review process. The definitiion of "Permit" will be amended to reflect this position.
| II.A. | Definitions | 19 | An Attaching Entity that has executed a Pole Attachment Agreement should not be required to sign a Wireless Addendum to deploy Mid-Span Installations. | CPS Energy agrees that an Attaching Entity only deploying Mid-Span Installations need not execute a Wireless Addeddum. The definition of "Pole Attachment Agreement" will be amended to reflect that an Attaching Entity that has executed such an Standard Pole Attachment Agreement is granted a general license to access CPS Energy's pole for the purpose of deploying Mid-Span Installations.
| II.A. | Definitions | 24 | Given that Mid-Span Installations should not be required to recive a pole attachment permit and pay a pole attachment fee, they should not be considered unathorized attachments. | CPS Energy disagrees with this position. A Mid-Span Installation (i) installed without the subittal of a Notification, or (ii) installed by an Attaching Entity that has not executed a Pole Attachment Agreement, or (iii) installed after the termination/expiration of a Pole Attachment Agreement will be considred an Unathorized Wireless Installation. The definition of "Unauthorized Wireless Installation" will be amended accordingly.
| II.H.1. | Grant of Perit | 35 | Mid-Span Installations should be entitled to the "quiet enjoyment" of the space where they are installed without being subject to receipt of a pole attachment permit. | CPS Energy disagrees with this position, however, having determined that a Mid-Span Installation will be entitled to receive a pole attachment Permit, and provided the Mid-Span Installation is properly installed in compliance with all applicable engineering standards, there is no issue in dispute. The Standards will be amended to clarify that the issuance of a permit to a Mid-Span Installation entitles the owner of the installation to the "quiet enjoyment" of the space of attachment.
| II.I.2. | Application Fee and Make-Ready Engineering Review | 41 | A Mid-Span Installation should not be subject to a pole attachmemt application fee. | In its initial draft posted for stakeholder comment, CPS Energy proposed to eliminate the application fee for all wireless installations. We will implement Charter's recommendation. The Standards will be amended to eliminate the requirement that Wireless Installations, including Mid-Span Installation, pay a pole attachment application fee. However, Mid-Span Installations will be subject to all applicable make-ready charges.
| III.A.a. | Wireless Interference Studies and Testing | 58 | Mid-Span Installations should not have to comply with the radio frequency interference studies and testing prescribed in the Standards. | CPS Energy agrees with this point, provided that Mid-Span Installations continue to be used to deploy WiFi access points (micro network nodes) that utilize unlicensed frequencies. After all, the interference studies and testing referenced in the Standards apply to licensed frequencies. Mid-Span Installations, however, cannot interfere with CPS Energy's operations and wireless systems that utilize licensed and unlicensed frequencies. The Standards will be amended to reflect this position.
| III.A.14 | Pre-Certification of Wireless Systems | 63 | Mid-Span Installations should not be subject to the pre-certification requirements applicable to Wireless Installations. | CPS Energy agrees in part with this position. Certain pre-certification requirements applicable to small cell Wireless Installation that utilize licensed radio frequencies need not apply to Mid-Span Installations that utilize unlicensed frequencies. Consequently, an Attaching Entity engaged in the deployment of Mid-Span Installations will not be required to install a mock representation of the strand-mounted installation at CPS Energy's pole training yard, or be requied to submit the radio frequency studies and reports outlined in Appendix D, Section B.1. However, such an Attaching Entity will be required to comply with the following obligations: (i) submit the Pre-Certification Form found in Appendix B, which provides factual informatin concerning the wireless technology deployed; (ii) submit written materials explaining the installation, operational, and safety procedures and other considerations associated with Mid-Span Installation wireless technology; (iii) submit a 12-month and 3-year deployment plan and refresh the plan as appropriate; (iv) determine the safe distance from a pole that a WiFi access point (micro network node) may be installed to protect linemen from exposure to harmful levels of radio frequency energy and submit calculations; (v) determine the appropriate distance that a WiFi access point (micro network node) should be installed away from a CPS Energy wireless system that operates in the same unlicensed frequency bands in order to prevent radio frequency interference and submit explanation; (vi) identify the location of the shut-off switch for a WiFi access point (micro network node) and submit explanation; (vii) schedule a briefing with CPS Energy prior to deployment to provide an overview of all these issues. The Standards will be revised accordingly.
| III.B.1.c. | Restrictions on Certain Poles | 65 | A Mid-Span Installation should not be subject to the same general restrictions applicable to other Attachments and Wireless Installations. | CPS Energy agrees in part. Mid-Span Installations are not as intrusive as Wireless Installations attached on a pole. Accordingly, the Standards will be amended in several sections to indicate requirements that do not apply to Mid-Span Installations. Unless stated otherwise, requirements applicable to Wireless Installations will apply to Mid-Span Installations. The Standards will be amended to modify the applicabilty of certain general restrictions in relation to Mid-Span Installatiions. See also the addition of footnote #5 to the definition of "Wireless Installation."
| III.B.1.d. | Poles with Distribution Equipment Installed | 64 | The prohibition against attaching a Wireless Installation on a pole on which electric distribution equipment has been installed should not apply to Mid-Span Installations. | CPS Energy agrees with this position, subject to certain clarifications. Mid-Span Installations may be installed next to a pole that hosts electric distribution equipment, provided that the Riser that protects the coaxial cable tha supports the WiFi access point (micro network node) shall not be installed on subh a pole if the Riser: (i) would interfere with CPS Energy's ability to operate and maintain its electrical equipment; (ii) conld not be installed in compliance with NESC requirements; or (iii) the pole already supports three Risers. The Standards will be amended to reflect this position.
| V.B.1. | Standard Process for Wireless Installations | 116 | Mid-Span Installations should not be subject to the pole attachment application review process applicable to Wireless Installations. | CPS Energy agrees and will amend the Standards to reflect that the pole attachment application review process does not apply to Mid-Span Installations, with certain exceptions (see new Section V.C.1.-2.).
| V.B.2.d. | Submisson of Application | 118 | Mid-Span Installations should not be required to be individually metered (have individual electric service accounts) as the Standards require for small cell Wireless Installations. | CPS Energy agrees that Mid-Span Installations should not be individually metered. However, the Slab-Mounted Equipment Cabinet that supports one or more Mid-Span Installations is required to have a dedicated electric service account and corresponding electric meter. The Standards will be amended to clarify this point.
| V.B.3.f. | Treatment of Multiple Requests for Poles in Same General Area | 124 | Mid-Span Installations should not be prohibited from being strand-mounted next to a pole that hosts a small cell Wireless Installation. | CPS Energy agrees with this position, subject to some clarifications. Mid-Span Installations may be strand-mounted next to a pole that hosts a small cell Wireless Installation, provided that the Riser that protects the coaxial cable that energizes and provides connectivity to the WiFi access point (micro network node) is installed on a pole other than the pole that holds the Wireless Installation. The Standards will be amended to address this issue.
| V.C.3. | Standard Process for Strand-Mounted Mid-Span Installations/CPS Energy Review of Notification; Construction; Permitting | 136 | Mid-Span Installations should be subject to an expedited notice review process that does not delay deployment schedules. | CPS Energy understands this position, but recognizes its obligation to other Attaching Entities to ensure Mid-Span Installations are (a) installed in compliance with the NESC and other applicable engineering standards, and (b) do not create any safety or reliability concerns or inproperly intrude into the clearance space leased by another Attaching Entity. Therefore, a new section will be added to the Standards outlining a 10-days review process applicable to Notifications of Mid-Span Installations. Under this process, CPS Energy will have the burden to identify within a 10-days review period any capacity, safety, reliability, or engineering issues requiring correction and notify the Attaching Entity of necessary modifications or denial of the Notification. Should CPS Energy fail to provide timely notice, the Attaching Entity may proceed with the installation, subject to a post-constructin inspection.
| Appendix B2 | Application for Wireless Installation Permit | App'x p. 12 |  | Conforming revisions to Appendix
| Appendix B4 | Request for Pre-Certification of Wireless System | App'x p. 14 |  | Conforming revisions to Appendix
| Appendix B10 | Permit for Attachment or Wireless Installation | App'x p. 21 |  | Conforming revisions to Appendix
| Appendix B12 | Notice of Unauthorized Attachment or Unauthorized Wireless Installation | App'x p. 23 |  | Conforming revisions to Appendix
| Appendix D, Section B.1.l | Interference Analysis | App'x, p. 41 |  | Conforming revisions to Appendix
| Appendix D, Section B.3.c | Licensed Frequency | App'x, p. 43 |  | Conforming revisions to Appendix
| Appendix G | Pole Loading Requirements | App'x p.59 |  | Conforming revisions to Appendix
| Appendix H | Schedule of Pole Attachment Rates, Fees, and Charges | App'x, p.61 |  | Conforming revisions to Appendix
Pole Attachment Standards Comment Form
Date: |  | 2019-01-31
Pole Attachment Version Number: |  | 4
Company: |  | ExteNet Systems
No. | Section No. | Section Name | Page No. | Comment | CPS Energy Response
| Appendix X | Pole Attachment Tag List | Appendix 92 | Tag #48 is ExteNet Systems, Inc. | CPS Energy updated Appendix K to reflect ExteNet Systems Inc. Tag #48
Pole Attachment Standards Comment Form
Date: |  | 2019-01-31
Pole Attachment Version Number: |  | 4
Company: |  | Cellco Partnership DBA Verizon Wireless
No. | Section No. | Section Name | Page No. | Comment | CPS Energy Response
| III., A., 14. | Pre-Certification of Wireless Systems | 61-62 | Recommend allowing a CMRS provider to pre-certify a maximum design during mock-up going forward. This would allow any pre-certified design that falls within this maximum design, even with reduced equipment, automatically be included in the pre-certification without requiring addtional reduced variations of the pre-certifications. | Verizon mock up their proposed wireless antenna installations for their 4G and 5G deployment. The mock ups have been approved by CPS Energy team.
| VII., B. 3, b) | Pole-Top Antenna Type, Size and Quantity | Appendix-43 | These standards do cover the Cannister/MM Wave antennas combined at pole top. Need this standard added here as soon as pre-certification is received and potential drawing update to Appendix I as well. | Verizon mock up their proposed wireless antenna installations for their 4G and 5G deployment. The mock ups have been approved by CPS Energy team and drawings were updated to Appendix I to reflect these installations along with the language to Appendix 43.
| Appendix I | Wireless Installation Diagrams | Appendix - 73,74 | Need to include diagram with of these two designs combined. Pre-Certification install just completed on 1/25 and pending approval from CPS. See related comment 2 above. | Verizon mock up their proposed wireless antenna installations for their 4G and 5G deployment. The mock ups have been approved by CPS Energy team and drawings were updated to Appendix I to reflect these installations along with the language to Appendix 43.
| VII., B. 3, d), (ii) | Attachment Position and Defined Space | Appendix-43 | This section seems to conflict with our Cannister/MMWave Antennas combined at pole top as well. Can this also be clarified to allow the combination design as soon as our pre-certification is finalized on this design. | Verizon mock up their proposed wireless antenna installations for their 4G and 5G deployment. The mock ups have been approved by CPS Energy team and drawings were updated to Appendix I to reflect these installations along with the language to Appendix 43.
| VII., B., 13, a) | Mid-Pole Installations | Appendix-51 | The 12" Height(vertical length) would restrict us from potential mid-pole cannister antennas. Recommend increasing the height limitation to 24" to allow for a typical below conductor canister when desired in the future. | Verizon would need to do a mock up with the proposed antenna and submit Appendix B5 - CPS Energy Request for waiver of Applicable Engineering Standards.